## Slide 1: Simulating exoplanet direct imaging: from science photons to bits
Maxime J. Rizzo
Postdoctoral Fellow, NASA GSFC
Contributors: Neil Zimmerman, Aki Roberge, Tyler Groff (NASA GSFC)
Ewan Douglas (MIT/Cahoy Lab)
Laurent Pueyo, Chris Stark (STScI)
John Krist (JPL)

## Slide 2: Overview
WFIRST coronagraph basics
The Haystacks project
Unit conversion
Shaped pupil simulations
Detector noise
Simple post-processing

## Slide 3: Overview
WFIRST coronagraph basics
  Coronagraph intro (modes, etc)
  Targets
  Context of modeling effort (JPL, IFS, etc)

## Slide 4: WFIRST Coronagraph

## Slide 5: Performance and targets
<1e-8 raw contrast
Expected >10x gain in post-processing
3 modes:
  Hybrid Lyot
  Shaped Pupil – Disk mode
  Shaped Pupil – bowtie + Integral Field Spectrograph
>16 currently known planet candidates

## Slide 6: Context of effort
JPL is modeling lead
  High-fidelity model of the CGI with their software “PROPER”
  Includes dynamic LOWFS and DM corrections
  Takes many days to run a typical observing scenario
  Does not include detector noise and post-processing techniques
NASA Goddard is building IFS
  Need simulations to study trade-offs and optimize parameters
Science investigation teams (SITs) need ‘toy models’ to play with to refine the post-processing factor gain, tune the science

## Slide 7
The ‘Haystacks’ project

## Slide 8: Overview
The Haystacks project
  Context
  Stars & Planets
  Dust
  Noise and confusion
    Galaxies
    Local dust
    Background stars
  Orbital dynamics
  Deliverables
  Created as a benchmark

## Slide 9: CGI simulated scenes: “Haystacks”
Lead by Dr Aki Roberge at GSFC
Suite of models of realistic extrasolar systems
Spatially and spectrally resolved

## Slide 10: Solar system

## Slide 12: Dust
Dust structure is modeled by C. Stark at STScI
  Uses N-body simulations
  Several grain populations
  Includes grain-grain collisions
  Tied to planetary architectures
Radiative transfer code converts dust density to fluxes
  Dust scatters starlight
  Emits its own light by absorbing stellar photons
Can vary the overall intensity, the inclination the stellar spectrum, etc

## Slide 13: Galactic background

## Slide 14: Haystacks features
Models orbital dynamics
  Planets orbit around the star
  Dust structure rotates appropriately
  Background cubes are provided separately so can be moved to simulate proper motion
We will distribute 2 solar system models (Roberge et al., in prep):
  Modern system
  Archean Eon (3.5 Gyr ago)
We want to become the benchmark of future coronagraphs

## Slide 15: It’s all about the units
Convert units
  Section on its own! Just make the units work and you will avoid mistakes (use astropy.units)
  Haystacks gives Watts per Hz per m2
  Goal is to calculate how many photons per second enter the telescope in the desired bandpass
  Usually things are defined/referenced in Vband
    Obtain the bandwidth in Hz
    Obtain the mean photon energy in Joules
    Obtain the effective aperture of the telescope in m2
  Things to watch out for:
    Stellar temperature/type, which change the shape of the stellar spectrum
    If you are trying to determine photon flux in another band, first determine the scaling factor in the reference band, then use a blackbody function to obtain the ratio of your band to Vband!

## Slide 16: Overview
Shaped pupil simulations
  Not a convolution! -> PSF fluctuates on various timescales and spatial frequencies
    Reaction wheels, pointing jitter, thermal drifts
    LOWFS senses the variations but corrects only imperfectly
  First approach:
    Look up OPD residual map fluctuation properties (spatial and time scales)
    Reproduce an OPD map time series
    Apply it to a model PSF using webbpsf to build a time series of stellar PSFs
    Calculate off-axis PSF for each off-axis pixel
    Have a reference star and a target scene, subtract the two

## Slide 17
Shaped pupil simulations

## Slide 18: Overview
Not a convolution!
  PSF fluctuates on various timescales and spatial frequencies
    Reaction wheels, pointing jitter, thermal drifts
    LOWFS senses the variations but corrects only imperfectly
First approach:
  Look up residual OPD map fluctuation with time (Krist et al.)
  Randomly generate an OPD map time series
  Apply it to a model PSF to build a time series of stellar PSFs
  Calculate off-axis PSF for each off-axis pixel
  Produce ideal PSF for reference; apply detector noise to target scene
  Subtract reference from target!

## Slide 19: CGI WFE simulations

## Slide 20: WFIRST bands
F661
F721
F883
Spectrum from Cahoy+ 2010

## Slide 21: Varying high-order WFE
100pm
10pm

## Slide 22: Shaped pupil simulations
Second approach:
  Obtain high-fidelity model from JPL
  Correct observing scenario: look at the reference star; look at the target star, and roll
  Generate the off-axis PSF on our own
  Produce ideal PSF for reference; apply detector noise to target scene

## Slide 23: RMS WFE from JPL model
Input low-order
error (Z5-Z36)
DM corrected
(16 bit DAC)
DM corrected
(No DAC)
(pm)
DM corrected
(16 bit DAC
Randomized)

## Slide 24: SPC IFS results

## Slide 25: Shaped pupil simulations
Model detector noise
  Noise contributors:
    Read noise, Poisson noise, CIC noise, dark current
    Electron multiplying noise & threshold
    Traps!
  Severely impacts things when in low-light environments

## Slide 26: Traps

## Slide 27: Next steps
Model all WFIRST bands
Unit testing
EM+Traps detector model
Incorporate with IFS simulator
Staged sharing with the community
  Soon: source code and example notebooks
  Later: web-based tool where users can update a model scene and get back a simulated image (similar to WFI tool STIPS*)?
*http://www.stsci.edu/wfirst/software/STIPS

## Slide 28: Backup slides

## Slide 29: Coronagraph model
Shaped pupil “disk mode”
  6->20 lambda/D
Using webbpsf/POPPY
Created a look-up table of off-axis PSFs for every sampling element for each filter (~10GB total)
  Used lambda/4D @ 661nm as spatial sampling element
For any input field, bin to correct spatial sampling and multiply each pixel by corresponding off-axis PSF

## Slide 30: OPD errors
Generated 100 realizations of OPD wavefront error
  Both low-order and high order
  High-order WFE are scalable
Averaged the first 50 realizations to generate a ‘library PSF’
Averaged the last 50 to generate the ‘observed’ star, add to the scene

## Slide 31: Detector sampling and noise
Assume the detector pixel is lambda/2D @ 661nm
Assume an efficiency factor at the CGI entrance from J. Krist
webbpsf simulates CGI efficiency
Observed 6, 3 and 3 hours in F661, F721, F883
Divide exposure time into 100 s exposures
Assume only Poisson noise on the observed scene, no noise on the ‘library PSF’
Assume QE, dark current, CIC, read noise from Harding et al. 2016 paper
No photon counting mode, EM-noise, or traps

## Slide 32: Varying high-order WFE
25pm
10pm